## Slide 1: Development of an integrated respiratory rate monitoring system using STM32 microcontroller
Luca De Bartolo
Simone..
Lorenzo ..
Francesco..
Macro..
Lorenzo Bartolucci – Luca De Bartolo – Simone Pasquariello – Marco Corrado – Francesco Ronchi
Hardware & Software Co-Design of Electronic Systems
A.Y. 2023-2024

## Slide 2: Respiratory Rate
Definition
Why is it important?
It is a fundamental vital sign sensitive to various pathological conditions:
Adverse cardiac events
Clinical deterioration
Pneumonia
Stress factors
Low body oxigenation
Normal Range
(12 – 30) breaths/min
(0.2 – 0.5) Hz

## Slide 3
Conditioning Circuit
STM32 Microcontroller
Strain Gauge Sensor
How do we measure it?
Wearable band that transforms the strain into a resistance variation
It converts the resistance variation into a voltage one, which is also amplified and filtered
It elaborates the voltage signal and it retrieves the respiratory rate through the FFT

## Slide 4: Strain Gauge Sensor
Silicon fabric that responds to strain with a change in resistance:
if
From conditioning circuit we get the output voltage as function of sensor resistance
High sensitivity of
Working region

## Slide 5: Project Overview and Divisions
Studio della benda resistiva a disposizione
Circuito di Condizionamento (Hardware)
Codice (Software)
PCB

## Slide 6: Overall Electronics Architecture

## Slide 7: Battery powered circuit requirements
Battery charging circuit
Battery Protection circuit (Undervoltage and Overvoltage)
Battery Charging IC with embedded overvoltage protection
DCDC converter with an enable pin that has an embedded comparator

## Slide 8: DCDC Converter

## Slide 9: Power Switch
Enable the continuous operation while changing the power supply without losing data coming from the sensor
3 different circuits:
Programmable power switch: overkill for our purposes
Low cost analog circuit: our choice
High cost Integrated circuit

## Slide 10: Low cost analog configuration

## Slide 11: Simulation results: Switch ON

## Slide 12: Simulation results: Switch OFF

## Slide 13: High cost Integrated IC for further improvements

## Slide 14: Conditioning Filtering circuit
Voltage Divider: low accuracy

## Slide 15: Wheaston Bridge + Differential Amplifier

## Slide 16: Conditioning simulations

## Slide 17: Sallen Key filter

## Slide 18: PCB Design and Component Layout
Centralized STM32 microcontroller: Optimal signal path and integrity
Edge-placed SWD connector: Facilitates programming access
Micro USB connector: Unrestricted cable access, minimized board stress
I2C interface for LCD: Considered spatial requirements, no component interference
Polygon pours: used to create a solid or shaded area in the PCB layers

## Slide 19
3d view
2d view

## Slide 20: Design Rule Check (DRC) and Manufacturing Compliance

## Slide 21: Software

## Slide 22: Software (2)

## Slide 23: Software (2)

## Slide 24: Software (3)

## Slide 25: Software (3)

## Slide 26: Video

## Slide 27: Conclusions
Initial time to fill the buffer
Manual potentiometer adjustment
Trade off tra tempo e prestazioni (sensibilità)
Changing the buffer size or sampling time
Implement a self-adjusting potentiometer
Notes: Grazie al trimmer abbiamo più Flessibilità (modulability/modularity o modularity) del codice .. Nel servomotor implemneta una formula che per qualsiasi grado calcoli il movimento.
Robustezza: metti funzione che ti fa uscire dal programma se succede una cosa indesiderata!