## Slide 1: Development of an integrated respiratory rate monitoring system using STM32 microcontroller
Luca De Bartolo
Simone..
Lorenzo ..
Francesco..
Macro..
Lorenzo Bartolucci – Luca De Bartolo – Simone Pasquariello – Marco Corrado – Francesco Ronchi
Hardware & Software Co-Design of Electronic Systems
A.Y. 2023-2024

## Slide 2: Respiratory Rate
Definition
Why is it important?
It is a fundamental vital sign sensitive to various pathological conditions:
Adverse cardiac events
Clinical deterioration
Pneumonia
Stress factors
Low body oxigenation
Normal Range
(12 – 30) breaths/min
(0.2 – 0.5) Hz

## Slide 3
Conditioning Circuit
STM32 Microcontroller
Strain Gauge Sensor
How do we measure it?
Wearable band that transforms the strain into a resistance variation
It converts the resistance variation into a voltage one, which is also amplified and filtered
It elaborates the voltage signal and it retrieves the respiratory rate through the FFT

## Slide 4: Strain Gauge Sensor
Silicon fabric that responds to strain with a change in resistance:
if
From conditioning circuit we get the output voltage as function of sensor resistance
High sensitivity of
Working region

## Slide 5: Project Overview and Divisions
Studio della benda resistiva a disposizione
Circuito di Condizionamento (Hardware)
Codice (Software)
PCB

## Slide 6: Hardware

## Slide 7: Hardware (2)

## Slide 8: Hardware (3)

## Slide 9: Software

## Slide 10: Software (2)

## Slide 11: Software (3)

## Slide 12: Software (3)

## Slide 13: Software (4)

## Slide 14: Video

## Slide 15: Conclusions
Initial time to fill the buffer
Manual potentiometer adjustment
Trade off tra tempo e prestazioni (sensibilità)
Changing the buffer size or sampling time
Implement a self-adjusting potentiometer
Notes: Grazie al trimmer abbiamo più Flessibilità (modulability/modularity o modularity) del codice .. Nel servomotor implemneta una formula che per qualsiasi grado calcoli il movimento.
Robustezza: metti funzione che ti fa uscire dal programma se succede una cosa indesiderata!